HiPerSAT to EEGLab

A High Performance Signal Analysis Toolbox

HiPerSAT  is a high-performance C++ implementation of the Infomax and FastICA component separation algorithms.  HiPerSAT is built upon the HiPerSAT framework, a C++ library for use in building applications requiring component separation.

To invoke HiPerSAT from EEGLab, you must first download and install the HiPerSAT framework.  A collection of MATLAB script files that enable EEGLab to call HiPerSAT through its GUI is included in the download.

The framework is available from the NIC EEG Signal Analysis Tools website: http://www.nic.uoregon.edu/scenic/.  Once there, click on the link for HiPerSAT v0.3 Binary Install for MacOSX or HiPerSAT v0.3 Binary Install for Linux/x86.

Note:  EEGLab is available as a separate download from http://sccn.ucsd.edu/eeglab/.

Download, install and verify the HiPerSAT framework by following the instructions in the online README.

The ~/HiPerSAT/matlab folder contains the necessary MATLAB .m script files for integrating EEGLab with HiPerSAT.  Add this location to your MATLAB path by selecting File > Set Path... from the MATLAB Command Window menu bar.  Exit the Set Path dialog by pressing the Save then Close buttons.

The final step involves modifying EEGLab's pop_runica.m file, which is contained in EEGLab's functions subfolder (PathToEEGLab/eeglab####/functions/).  The instructions to modify pop_runica.m are contained in the README_EEGLab.txt file in the ~/HiPerSAT/matlab folder.

Once HiPerSAT and EEGLab have been properly configured, you can invoke HiPerSAT as you would any of the ICA decomposition algorithms available through EEGLab's GUI.

Start EEGLab by typing "eeglab" at the MATLAB command prompt and load your data.  When you're ready to perform an ICA decomposition, choose Tools > Run ICA from the EEGLab GUI, which should launch the Run ICA Decomposition pop-up.

Since HiPerSAT is not a MATLAB script (.m) file implementation, and not part of the default EEGLab installation, it will not appear in the "ICA algorithm to use" list in the Run ICA pop-up (see Figure 1, below).  Nevertheless, HiPerSAT is available and can be invoked by typing "nic-infomax" or "nic-fastica" in the "ICA algorithm to use" edit text box.

Figure 1.  Run ICA Decomposition Pop-up.  Type nic-infomax or nic-fastica in the edit text box to run the HiPerSAT implementation of Infomax or FastIca, respectively.

Note:	The following optional parameters of the Infomax and FastICA algorithms are not yet implemented.

Infomax

- PCA dimension reduction

- Extended-ICA  (estimates the number of sub-gaussian sources)

FastICA

- PCA dimension reduction

- Fine-tuning

- Stabilization

Fine-tuning and stabilization attempt to improve convergence of the FastICA algorithm by modifying the contrast function and step size.

Pressing the Ok button will launch the HiPerSAT ICA Form Editor GUI (see Figure 2, below).  The form editor is divided into 6 panes which allow the user to modify or set various runtime parameters.

Figure 2.  HiPerSAT ICA Form Editor.  The 6 panes are HiPerSAT Data, ICA Process, Data Pre-Processing, Data Output, FastICA Protocol and Infomax Protocol.

HiPerSAT Data Pane

Displays the number of channels and samples (frames / epoch) in the current data set.  The data set passed to HiPerSAT must be continuous or consist of a single epoch  Note: This pane contains no user editable fields.

ICA Process Pane

ICA Protocol pop-up:	Specifies the ICA decomposition algorithm.  The algorithm originally specified in pop_runica() is selected by default.

Number of Processors field:	Enter the number of processors.   You may specify 2 or more if HiPerSAT has been configured for parallel operation.  Default = 1.

Data Pre-Processing Pane

Data Whitening check box:	When selected, deactivates HiPerSAT's whitening algorithm in the case of pre-whitened data.

Sphering Matrix pop up:	Specifies that HiPerSAT compute the sphering matrix or import a user-supplied sphering matrix from a binary file (column-major, big-endian).  Default = compute sphering matrix.

Validate Whitening check box:	When selected, activates HiPerSAT's validate whitening algorithm, which compares the data's covariance matrix to an identity matrix.

Store Whitened Data check box:	When selected, HiPerSAT stores a whitened copy of the data to a binary file (column-major, big-endian).

Data Output Pane

Weight Matrix check box:	When selected, HiPerSAT passes the ICA weight matrix back to EEGLab.  Selected by default.

Sphering Matrix check box:	When selected, HiPerSAT passes the data's sphering matrix back to EEGLab.  Selected by default.

Mixing Matrix check box:	When selected, HiPerSAT passes the ICA mixing matrix (Wgt * Sph)-1 back to EEGLab.

Unmixing Matrix check box:	When selected, HiPerSAT passes the ICA unmixing matrix (Wgt * Sph) back to EEGLab.

IC check box:	When selected, HiPerSAT passes the independent components (IC) back to EEGLab.

Fast ICA Protocol Pane

Weight Initialization pop up:	Specifies the weight matrix initialization: identity matrix, random matrix or appropriate user-supplied matrix from a binary file (column-major, big-endian).  Default = identity matrix.

Contrast Function pop up:	Specifies the non-linearity used by the fixed-point algorithm: cubic, hyperbolic tangent or gaussian.  Default = hyperbolic tangent.

Convergence Tolerance field:	Enter the stopping criterion for the fixed-point iteration.  Default = 0.0001.

Max Iterations field:	Enter the maximum number of iterations.  Default = 1000.

Infomax Protocol Pane

Neural Net Initialization pop up:	Specifies the neural net initialization: identity matrix, random matrix or appropriate user-supplied matrix from a binary file (column-major, big-endian).  Default = identity matrix.

Convergence Tolerance field:	Enter the minimum error for terminating convergence loop.  Default = 1E-6.

Maximum Iterations field:	Enter the maximum allowable iterations of the convergence loop.  Default = 512.

Learning Rate field:	Enter the initial ICA learning rate.  Modifies the neural net step size.  Default = 0.001.

Annealing Degree field:	Enter the change (in degrees) in successive estimates of the weight set at which the neural net learning rate is modified.  Default = 70o.

Annealing Scale field:	Enter the factor to scale the learning rate when annealing degree is exceeded.  Default = 0.90.

Maximum Weight field:	Enter the maximum allowable weight.  Neural net is reset and training restarts at a new lower learning rate if exceeded.  Default = 1E+8.

Maximum Divergence field:	Enter the maximum allowable rate of weight change.  Training continues at a new lower learning rate if exceeded.  Default = 1E+8.

Weight Restart Factor field:	Enter the learning rate scale factor when maximum weight is exceeded.  This factor multiplies the current learning rate to generate a new, lower learning rate.  Default = 0.9.

Divergence Restart Factor field:	Enter the learning rate scale factor when maximum divergence is exceeded.  This factor multiplies the current learning rate to generate a new, lower learning rate.  Default = 0.8.

Minimum Learning Rate field:	Enter the minimum allowable learning rate.  Training terminates if the current learning rate drops below this level.  Default = 1E-8.

Random Learning field:	Enter yes (Y) or no (N) to specify that the neural net is trained on data samples taken in random (Y) or temporal (N) order, respectively.  Default = Y.

Buttons

Run button:	Closes the HiPerSAT ICA Form Editor and calls HiPerSAT to initiate the specified ICA decomposition.

Reset button:	Resets all HiPerSAT ICA Form Editor fields, pop-ups and check boxes to their default settings.

Close button:	Closes the HiPerSAT ICA Form Editor and returns control to EEGLab's pop_runica() GUI.

Note:	The HiPerSAT ICA Form Editor stores its settings as Property Name / Property Value pairs, one per line, in a text file with a ".form" extension1.  HiPerSAT reads the information in this file to configure its ICA decomposition.

Load button:	Displays a standard File Open dialog box that you can use to navigate to and select an existing HiPerSAT (.form) file.  The settings of the file's Property Name / Property Value pairs are then transferred to the appropriate fields, pop-ups and check boxes of the HiPerSAT ICA Form Editor GUI.

HiPerSAT in Action

HiPerSAT continually updates the current status of the ICA decomposition via MATLAB's command window.  Figures 3, 4 and 5 below illustrate what you should expect to see for a typical Infomax decomposition.

Figure 3.  Configuration of the environment variables HiPerSAT_Home and HiPerSAT_EXEC.

Left Intentionally Blank

Figure 4.  Data parameters, ICA decomposition parameters and Neural Net status at each iteration.

Left Intentionally Blank

Figure 5.  HiPerSAT execution time and sorting of the independent components based upon mean projected variance.

Upon completion, program control is returned to EEGLab.  You can then plot component activations and proceed with subsequent analysis.

Figure 6.  Independent components from the Infomax ICA decomposition (via HiPerSAT) of the 22 channel test data set.